## Sheet1
From Sarah |  |  |  | Category |  |  | Service.Type |  |  | > dim(as.data.frame(table(genomics$Charge.Name)))
[1] 7515 2
Instrument | Inst_short | Group_Long | Group_Short | Inst_short | Category | Frequency | Inst_short | Service.Type | Freq
Covaris R220 / E230 focused ultrasonicators | covaris | Sample isolation, purification, and initial processing | samp_iso |  |  | 69 |  |  | 28 | lots of info in Charge.Name but free-text chaos
Revvity Chemagic360 nucleic acid purification system | chemagic | Sample isolation, purification, and initial processing | samp_iso | cytassist | 10X Visium | 29 |  | 1000251 Dual Index Kit TS Set A, 96 rxn | 1
Sage BluePippin preparative electrophoresis | pippin | Sample isolation, purification, and initial processing | samp_iso | unclear | Assisted | 1044 |  | 1000781 GEM-X Flex Sample Preparation v2 kit | 1
qPCR: n6 icon preparative, Roche LC480 (3) | qpcr | Library Preparation, Automation, and Quality Control | lib_prep | unclear | BMC: Automation | 136 |  | 1000791 GEM-X Flex GEX Chip Kit, 4 Chips | 1
Automated liquid handlers: TecanEVO150 (2), SPT MosquitoHV | tecan | Library Preparation, Automation, and Quality Control | lib_prep | bioanalyzer | BMC: BioAnalyzer | 29 |  | 1000798 GEM-X Flex GEX Mouse 16-plex, 64 samples | 1
Agilent FemtoPulse | femto | Library Preparation, Automation, and Quality Control | lib_prep | covaris | BMC: Covaris | 195 |  | 10x 1000120 | 2
Agilent Fragment Analyzer | frag_anal | Library Preparation, Automation, and Quality Control | lib_prep | unclear | BMC: Custom Service | 1 |  | 10x 1000121 | 2
Plate readers: Agilent SynergyH1, Thermo Varioskan | plate_read | Library Preparation, Automation, and Quality Control | lib_prep | pippin | BMC: Pippin | 22 |  | 10x 1000127 | 3
Agilent BioAnalyzer 2100 | bioanalyzer | Library Preparation, Automation, and Quality Control | lib_prep | plate_read | BMC: Varioskan | 440 |  | 10x 1000215 | 1
10X Genomics CytAssist (Visium/VisiumHD) | cytassist | Single Cell and Spatial ‘Omics | single_cell | oligo | BMC:OligoSynthesis | 114 |  | 10x 1000215 (1/2) | 2
10X Genomics Chromium X single cell partitioner | chromium | Single Cell and Spatial ‘Omics | single_cell | qpcr | BMC:qPCR | 3396 |  | 10x 1000268 | 3
Element AVITI24 – Teton in situ sequencing | teton | Single Cell and Spatial ‘Omics | single_cell | unclear | BMC:SingleCell | 44 |  | 10x 3' 16 rxn kit | 1
Luna Cell Counter | luna | Single Cell and Spatial ‘Omics | single_cell | compute | Computing | 87 |  | 10x 3' FB kit | 1
Illumina MiSeq i100 | miseq | Sequencing and Oligonucleotide Synthesis | seq_oligo | unclear | Consumable / Reagent | 1229 |  | 10x 3' Kit 16 rxns | 1
Illumina NovaSeq6000 | novaseq | Sequencing and Oligonucleotide Synthesis | seq_oligo | unclear | Equipment Usage Fees | 3581 |  | 10x Chip G 16 rxns | 1
Oxford Nanopore PromethION | ont | Sequencing and Oligonucleotide Synthesis | seq_oligo | hts | HTS: 043B Screening | 1420 |  | 10x Genomics PN 1000161 | 1
Singular G4 | singular | Sequencing and Oligonucleotide Synthesis | seq_oligo | hts | HTS: AssistPlus | 19 |  | 10x Genomics PN 1000212 | 1
Illumina NovaSeqX (Core collaborative partnership) | novax | Sequencing and Oligonucleotide Synthesis | seq_oligo | hts | HTS: BL2+ TC Space | 757 |  | 10x Genomics PN 1000268 | 1
Element AVITI24 | element | Sequencing and Oligonucleotide Synthesis | seq_oligo | hts | HTS: Collaborative Projects | 30 |  | 10x Genomics PN 1000390 | 1
Pacific BioSciences Revio (Core collaborative partnership) | pacbio | Sequencing and Oligonucleotide Synthesis | seq_oligo | hts | HTS: consumables | 1551 |  | 10x Index plates | 1
Oligonucleotide synthesizers: DNAscript syntax, Biolytic Dr.Oligo 192 | oligo | Sequencing and Oligonucleotide Synthesis | seq_oligo | hts | HTS: Detection and Data Acquisition | 56 |  | 10x NextGEM 3' (1000268) 16 RXN | 2
|  |  |  | hts | HTS: flat fees | 1254 |  | 10x NextGEM chip G 16 rxn | 2
|  |  |  | hts | HTS: GenoGrinder | 130 |  | 10x NG3' 16 rxn kit | 2
|  |  |  | hts | HTS: iPipettePro | 46 |  | 10x Quote SQ3199627V1 | 1
|  |  |  | hts | HTS: iQue | 159 |  | 10x Reqs: 1066486, 1069775 | 1
|  |  |  | hts | HTS: Liquid Handling | 37 |  | 10X Visium Spatial Gene Expression | 44
|  |  |  | hts | HTS: Operetta | 222 |  | 40 DNAse treatment | 1
|  |  |  | hts | HTS: Spark Cyto | 14 |  | AdvAn - Femto | 137
|  |  |  | unclear | Illumina Library: DNA | 859 |  | AdvAn - FP - Preload | 2
|  |  |  | unclear | Illumina Library: RNA | 458 |  | AdvAn - Preloaded | 7
|  |  |  | unclear | Illumina Sequencing | 3101 |  | AdvAn - Standard | 100
|  |  |  | ont | Oxford Nanopore Sequencing | 237 | bioanalyzer | BioAnalyzer / Fragment Analyzer | 4
|  |  |  | pacbio | PacBio Sequencing | 55 | bioanalyzer | BioAnalyzer / Fragment Analyzer / FemtoPulse / qPCR | 2587
|  |  |  | unclear | Quality Control Services | 2364 |  | BioMicro Center Consumables | 115
|  |  |  | unclear | Reagent | 37 | compute | BMC-PUB Archive Storage | 13
|  |  |  | unclear | Reagents | 52 | compute | BMC-PUB Data Storage | 74
|  |  |  | unclear | Retired Fees | 2 |  | Cell Line Expansion/Banking Request | 33
|  |  |  | unclear | Single Cell Services | 714 |  | Cell Line Repository Request | 247
|  |  |  | unclear | Technical Assistance | 78 | covaris | Covaris E220 usage | 1
[7 empty] | covaris | Covaris E220 Usage | 1
[8 empty] | Custom Service: BMC | 1
[8 empty] | Custom Service: BMC | 28
[8 empty] | Custom: Amplification & Cleanup of samples | 1
[8 empty] | DNA / RNA Library Prep and/or Illumina Sequencing Request | 2993
[8 empty] | DNA / RNA Library Prep and/or Short Read Sequencing Request | 1075
[8 empty] | Element Run - Instrument Only | 1
[7 empty] | element | ELM-AVITI - 150nt FC | 10
[7 empty] | element | ELM-AVITI - 150PE Lane | 1
[7 empty] | element | ELM-AVITI - 300nt FC | 2
[7 empty] | element | ELM-AVITI - 75PE Lane | 4
[8 empty] | Equipment Scheduling | 13087
[8 empty] | HTL - 16S | 2
[8 empty] | HTL - 16S +48 | 1
[8 empty] | HTL - 3DGEx24 | 3
[8 empty] | HTL - 3DGEx96 | 12
[8 empty] | HTL - Cleanup | 30
[8 empty] | HTL - DNA NEB24 | 4
[8 empty] | HTL - DNA NEB96 | 7
[8 empty] | HTL - DNA NXT24 | 1
[8 empty] | HTL - DNA NXT96 | 16
[8 empty] | HTL - QC | 12
[8 empty] | HTL - RNA Clontech24 | 1
[8 empty] | HTL - RNA Clontech96 | 2
[8 empty] | HTL - RNA NEBstd24 | 1
[8 empty] | HTL - RNA NEBstd96 | 4
[8 empty] | HTL - RNA NEBtotal24 | 2
[8 empty] | HTL - RNA ZapR96 | 2
[8 empty] | HTL - Setup | 40
[8 empty] | HTS Charge | 12
[8 empty] | HTS Collaborative Project | 55
[8 empty] | HTS Consumables Request | 595
[8 empty] | HTS: Consultation & Project Management | 20
[8 empty] | HTS: Consultation and Technical Assistance | 128
[7 empty] | miseq | ILL-MiSeq - user kit | 2
[7 empty] | miseq | ILL-MiSeq (150nt) v3 | 4
[7 empty] | miseq | ILL-MiSeq (300nt) | 13
[7 empty] | miseq | ILL-MiSeq (500nt) | 1
[7 empty] | miseq | ILL-MiSeq (600nt) v3 | 5
[7 empty] | miseq | ILL-MiSeq (Nano) | 1
[8 empty] | ILL-MPX | 11
[8 empty] | ILL-Next (300nt) | 5
[8 empty] | ILL-Next - user kit | 2
[8 empty] | ILL-Next (150nt) | 13
[8 empty] | ILL-Next (300nt) | 7
[8 empty] | ILL-Next (75nt) | 71
[7 empty] | novaseq | ILL-Nova - user kit | 2
[7 empty] | novaseq | ILL-Nova (S1.100) | 11
[7 empty] | novaseq | ILL-Nova (S1.300) | 3
[7 empty] | novaseq | ILL-Nova (S2.100) | 11
[7 empty] | novaseq | ILL-Nova (S2.200) | 2
[7 empty] | novaseq | ILL-Nova (S2.300) | 1
[7 empty] | novaseq | ILL-Nova (SP.100) | 10
[7 empty] | novaseq | ILL-Nova (SP.300) | 13
[7 empty] | novaseq | ILL-Nova (SP.500) | 2
[7 empty] | novaseq | ILL-Nova(25B.150PE) | 1
[7 empty] | novaseq | ILL-Nova(S4.150PE) | 54
[7 empty] | novaseq | ILL-Nova(S4.50SE) | 1
[7 empty] | novax | ILL-NVX (10bL.150PE) | 3
[7 empty] | novax | ILL-NVX (25bL.150PE) | 1
[8 empty] | ILL-QC | 44
[8 empty] | ILL-QC - full plate | 5
[8 empty] | ILL-QC - qPCR only | 4
[8 empty] | ILL-SE HS (40nt) | 3
[8 empty] | LIB - NEB | 6
[8 empty] | LIB - Nextera | 9
[8 empty] | LIB - NextXT | 13
[8 empty] | LIB - PIP Size Selection | 1
[8 empty] | LIB - RNA Clontech | 4
[8 empty] | LIB - RNA KapaStd | 1
[8 empty] | LIB - RNA NEB polyA | 12
[8 empty] | LIB - RNA NEB Ribo | 7
[8 empty] | LIB - RNA ZapR | 10
[8 empty] | LIB - smallRNA | 1
[8 empty] | Long Read Sequencing (Nanopore) | 71
[8 empty] | Long Read Sequencing (PacBio / Nanopore) | 224
[8 empty] | MiSeq usage | 2
[8 empty] | MiSeq V2 600nt | 1
[8 empty] | MiSeq V2 Nano | 1
[8 empty] | MiSeq V3 150nt | 1
[8 empty] | Mycoplasma Testing - all in | 1
[8 empty] | Mycoplasma Testing Request | 641
[8 empty] | Nextera XT LP and idx v2 set A | 1
[8 empty] | NextGEM Multiome and Chip J 16 rxns | 1
[8 empty] | NextSeq 150 High | 1
[8 empty] | NextSeq 150 Mid | 1
[8 empty] | NextSeq 300 Mid | 1
[8 empty] | NextSeq usage | 1
[8 empty] | NovaSeq: SP100 | 3
[7 empty] | ont | ONT - MinION Flowcell | 1
[7 empty] | ont | ONT - Prep: cDNA | 3
[7 empty] | ont | ONT - Prep: index | 2
[7 empty] | ont | ONT - Prep: ligate | 13
[7 empty] | ont | ONT - Prep: longInsert | 1
[7 empty] | ont | ONT - Prep: RNA | 7
[7 empty] | ont | ONT - PromethION | 28
[7 empty] | pacbio | PAC - 20h Sequel | 15
[7 empty] | pacbio | PAC - Basic Library | 11
[7 empty] | pacbio | PAC - Basic Library Addl Sample | 8
[7 empty] | pacbio | PAC - Genomic Library | 4
[7 empty] | pacbio | PAC - Genomic Library Addl Sample | 4
[8 empty] | Plates, 384-well (per plate) | 4
[8 empty] | Plates, 96-well (per plate) | 1
[8 empty] | Reagent: SYBR Green (Roche / Kapa) (per mL) | 4
[8 empty] | REVIO - 1 flowcell | 1
[8 empty] | RGT - 10X-ATAC | 1
[8 empty] | RGT - 10X-chipB | 3
[8 empty] | RGT - 10X-chipD | 1
[8 empty] | RGT - 10X-chipE | 2
[8 empty] | RGT - 10X-chipG | 2
[8 empty] | RGT - 10X-DGE | 7
[8 empty] | RGT - 10X-DGE x16 | 1
[8 empty] | RGT - 10X-IndexPlate | 1
[8 empty] | RGT - 384 well plate | 2
[8 empty] | RGT - 96 well plate | 1
[8 empty] | RGT - Ampure Beads | 4
[8 empty] | RGT - Covaris Tube | 3
[8 empty] | RGT - SYBR Green MMX | 3
[7 empty] | chromium | SC - 10x Amp sample | 6
[7 empty] | chromium | SC - 10x Amp setup | 6
[7 empty] | chromium | SC - 10x ATAC sample | 1
[7 empty] | chromium | SC - 10x ATAC setup | 1
[7 empty] | chromium | SC - 10x Cancel | 2
[7 empty] | chromium | SC - 10x DGE sample | 51
[7 empty] | chromium | SC - 10x DGE setup | 50
[7 empty] | chromium | SC - 10X multi sample | 1
[7 empty] | chromium | SC - 10X multi Sample | 1
[7 empty] | chromium | SC - 10X multi setup | 1
[8 empty] | Set A TT 96w plate | 1
[8 empty] | Shipping and Handling | 2
[8 empty] | Shipping/Customs | 1
[7 empty] | chromium | Single Cell - 10X / SeqWell | 852
[7 empty] | chromium | Single Cell RNA Sequencing - 10X / SeqWell | 19
[8 empty] | SNG - G4.F3 (150PE) | 3
[8 empty] | SNG - G4.F3 (50PE) | 3
[7 empty] | cytassist | SPT - VisHD 2 samples BMC | 1
[7 empty] | cytassist | SPT - Visium 4 Samples | 1
[7 empty] | cytassist | SPT - Visium Test Slide | 1
[8 empty] | Technician Labor: General | 19
[7 empty] | cytassist | Test Request (10X Visium Spatial Gene Expression) | 4
[7 empty] | cytassist | Visium HD slide and TS plate | 1